INSTALLATION CLEANING
The clean of a central heating installation is very important to prevent many problems, as:

- Blockade of the 3 way valve with dirtiness

- Noise in the circulating pump (turbine)
The method could be made by connecting a by-pass between the cold water and the hot water outlet for the radiators, after this put a by-pass from return of the radiators to the hot water and by this way the dirtiness go out dirtiness.


[image: image15.jpg]



Fig. Pump to fill the circuit to make the pre-charge to detect eventual leak of water and clean of installation.

[image: image2.png]



In the first fill of the installation is better addict an anti-freeze liquid that leave in heating system (tube + radiators) a protector cap. This protects installation to the corrosion (oxygen and galvanic corrosion)

[image: image3.png]1 Pre-installation aid

1.1 Description

With the use of this kit, we intend the installer to make
all the connections in order to make easy the posterior
boiler assembly.

1.2 Mounting

> Make all the connections to the Installation Aid as
shown in Fig. 1.
" valve is only used in Poland.

Fig. 1 Wall connections and measurements




[image: image4.png]» Cut the installation pipes.

» Screw the Installation Aid onto the wall (Fig. 3)
» Weld the installation pipes to the Installation Aid
pipes.

Fig.2  Previnstallation aid connections




[image: image5.png]Fig.3 Preinstallation aid fixing




[image: image6.png]» Tighten all connections (Fig. 4).

Fig.4  Connections

» Test installation on leaks (Fig. 5).

Fig.5 Leakage test




EXAMPLE
[image: image1]
[image: image7.jpg]



Step 1 Screw the Installation-Aid onto the wall
[image: image8.jpg]



[image: image9.jpg]


[image: image10.jpg]


[image: image11.jpg]34 5 6 .7 B O 1 2

"““‘“““U“J‘f;“f““’!“j;‘ “‘ | w““"\\\u\\H‘ll‘vH"l\H\‘H“\\Hl\\\“\\\\\\“\.




[image: image12.jpg]



[image: image13.jpg]


[image: image14.jpg]




Step 2
Connect the pipes to the Installation-Aid with the Connection-kit



Step 3
After the installation is done on the wall, check the connections on leak tightness 

Pre Installation with compression rings






Screw connecting pipes tight on/to the connections

Measure the length of the connecting pipes 60 mm + -3 mm(105+-3mm w/out valve)

Pre-install valves with seals on the Installation-Aid and put nut, compression rings and rubber seal on the connecting pipes

Press connecting pipes into the valves and screw the Installation-Aid onto the wall





Tighten compression rings screwing






Test installation on leaks







































